Global Sustainable Buildings Guide - Malaysia

# Energy Performance Certificates and Minimum Energy Standards

Contents

To generate table of contents, right-click here and select Update Field.

# Is there a mandatory form of energy performance certification? When does it apply and are there any prescribed minimum standards?

There is no mandatory form of energy performance certification in Malaysia.

However, there are certain energy efficiency requirements that apply to the construction of buildings in Malaysia. For example, Uniform Building By-Laws 1984 (UBBL), the subsidiary legislation made under the Street, Drainage and Building Act 1974, imposes the requirement for new or renovated non-residential buildings with air-conditioned space exceeding 4,000 square meters to comply with the requirements to meet the required overall thermal transfer value and roof transfer thermal value and provide an Energy Management System. UBBL also imposes a maximum thermal transmittance value in relation to the roofs of all buildings (residential and non-residential).

However, not all states in Malaysia adopt the UBBL. Some states have their own Uniform Building By-Laws, which may entail different energy efficiency requirements.

Energy Efficiency and Conservation Bill 2023 (EECA)

The Government of Malaysia is looking to enact a new legislation to regulate the efficient consumption of energy and conservation of energy, to improve and increase energy efficiency and avoid waste of energy. The legislation is currently in the form of a bill known as the Energy Efficiency and Conservation Bill 2023, under consideration in the upper house of Malaysian parliament (House of Senates) before it receives Royal Assent and is gazetted as law. Once the said new legislation is enacted as law, it will impose, among others, the following key duties on certain target groups:

- Any energy consumer who consumes more than the prescribed threshold of 21,600 gigajoules annually is required to implement an energy management system and conduct periodical energy audits

- Office buildings exceeding 8,000 square meters must apply and display the energy intensity label, and ensure that the energy intensity performance of the building complies with the prescribed energy efficiency rating

- Any energy-using product as specified in the guidelines must adhere to energy performance standards to obtain the energy efficiency certificates and labels

©Copyright © 2026 Baker & McKenzie. All rights reserved. Ownership: This documentation and content (Content) is a proprietary resource owned exclusively by Baker McKenzie (meaning Baker & McKenzie International and its member firms). The Content is protected under international copyright conventions. Use of this Content does not of itself create a contractual relationship, nor any attorney/client relationship, between Baker McKenzie and any person. Non-reliance and exclusion: All Content is for informational purposes only and may not reflect the most current legal and regulatory developments. All summaries of the laws, regulations and practice are subject to change. The Content is not offered as legal or professional advice for any specific matter. It is not intended to be a substitute for reference to (and compliance with) the detailed provisions of applicable laws, rules, regulations or forms. Legal advice should always be sought before taking any action or refraining from taking any action based on any Content. Baker McKenzie and the editors and the contributing authors do not guarantee the accuracy of the Content and expressly disclaim any and all liability to any person in respect of the consequences of anything done or permitted to be done or omitted to be done wholly or partly in reliance upon the whole or any part of the Content. The Content may contain links to external websites and external websites may link to the Content. Baker McKenzie is not responsible for the content or operation of any such external sites and disclaims all liability, howsoever occurring, in respect of the content or operation of any such external websites. Attorney Advertising: This Content may qualify as “Attorney Advertising” requiring notice in some jurisdictions. To the extent that this Content may qualify as Attorney Advertising, PRIOR RESULTS DO NOT GUARANTEE A SIMILAR OUTCOME. Reproduction: Reproduction or copying of the Content on this Site without express written authorization is strictly prohibited.